## Sheet1
K Factor Calculator
Round Duct
| Airflow in CFM | 800 | 8 | 64 | 3.1416 | 201.0619 | 1.3963 | Area of Duct | Area of duct * 4005 | 5592.0349
| Damper Size in Inches | 16 |  |  |  |  | 0.044269 | Pressure in "wc | Divided by Flow | 6.99
| Pressure | 11 | [6 empty] | Squared | 48.8607
| K Factor | 2.163 | [6 empty] | x Pressure | 2.163
Square/Rectangle Duct
| Airflow in CFM | 2200
| Damper Width in Inches | 24 |  |  |  | 384 | 2.6667 | Area of Duct | Area of duct * 4005 | 10680
| Damper Height in Inches | 16 |  |  |  |  | 0.10047 | Pressure in "wc | Divided by Flow | 4.8545
| Pressure | 25 | [6 empty] | Squared | 23.5666
| K Factor | 2.3676 | [6 empty] | x Pressure | 2.3676